## UNIC LINE S
Прайс на установки Heka (Дания) новая модель UNICLINE S Для получения дополнительной скидки обращайтесь в Группу компаний "Стомус" по тел. 8 800 550-48-48
НАИМЕНОВАНИЕ И ПЕРЕЧЕНЬ ОПЦИЙ | Артикул | Розничная цена 2024, EURO
UnicLine S Floor mounted console with delivery arm set, assistant/suction arm, cuspidor, air and water filters, air and water main valves. On/off for lamp on foot control | mc-0021 | 12013
Foot controls
Standard foot control | mc-0004 | 645
Wireless standard foot control | mc-0446 | 1544
Variable foot control | mc-0037 | 1035
Wireless variable foot control | mc-0442 | 1934
Universal variable foot control | mc-0036 | 1755
Wireless Universal variable foot control | mc-0034 | 2654
Instruments on Dentist element
Multiflex turbine hose | mc-0051 | 795
Bien Air MC3 LED micro motor | mc-0057 | 2140
Bien Air MX2 Micro motor including Optima control | mc-0161 | 3132
Bien Air MX2 Micro motor as second motor | mc-0160 | 3132
Bien Air MCX micro motor | mc-0165 | 2365
second Bien Air MCX micro motor | mc-0166 | 2030
NSK M40 LED micro motor | mc-0064 | 2290
Unic 3-function syringe | mc-0065 | 395
Luzzani 3-function syringe | mc-0105 | 665
Luzzani 6-function syringe | mc-0107 | 1115
Luzzani 7-function syringe with light | mc-0109 | 1230
Suprasson Newtron scaler with fibre optic (LED) | mc-0177 | 1980
Suprasson Newtron scaler | mc-0075 | 1545
NSK Varios scaler | mc-0085 | 2065
NSK Varios scaler with fibre optic (LED). | mc-0087 | 2580
EMS "No Pain" scaler | mc-0173 | 2330
EMS "No Pain" scaler with fibre optic (LED). | mc-0081 | 3080
EMS Airflow: build inn version | mc-0097 | 1975
Starlight Sler curing light - foot control activation | mc-0092 | 1390
Starlight Sler curing light - - hand piece activation | mc-0094 | 1390
Satelec Mini LED Curing light - foot control activation | mc-0095 | 1605
Satelec Mini LED Curing light - hand piece activation | mc-0192 | 1605
VALO Ultradent USA curing light - hand piece activation | mc-0194 | 2230
Satelec Sopro 617 camera | mc-0211 | 3940
Satelec Sopro 717 camera | mc-0217 | 5650
Extra when less than 5 instruments | mc-0102 | 215
Monitor and arm
Monitor "22" including arm and lamp adapter | mc-0221 | 2020
Monitor arm with VESA adapter (without monitor) incl. Lamp adapter | mc-0298 + g-0017 | 1180
iPad4 holder on Dentist element | mc-0025-06 | 1190
Water systems
Sterile water system: for mounting on tray adaptor | mc-0125 | 1425
Hygienic aeration: Model Heka automatic | mc-0282 | 335
Automatic flushing system for instruments hoses with holder for Unic Syringe | mc-0050 | 240
Automatic flushing system for instruments hoses with holder for Luzzani Syringe | mc-0151 | 240
water bottle and heater
water heater for glass and instrument table | mc-0206 | 560
UnicLine clean water bottle system - for instruments | mc-0157 | 205
suction / assistant arm
extra for assistant arm mounted on patient chair | mc-0242 | 465
add. price for smooth suction hose 11 mm | mc-0231 | 65
add. price for smooth suction hose 16 mm | mc-0236 | 65
automatic suction system cleaner | mc-0265 | 1130
Instruments on assistant arm
Syringe on assistant arm - UNIC 3F | mc-0226 | 360
Syringe on assistant arm - Luzzani 3F | mc-0227 | 665
Starlight Sler curing light on spittoon / cuspidor - hand piece activation | mc-0246 | 1390
Satelec Mini LED Curing light - hand piece activation | mc-0248 | 1605
VALO Ultradent USA curing light - hand piece activation | mc-0249 | 2230
Separators, spittoon valves, water decontamination
For Sweden- extra for Partikkelfälla | mc-0257 | 375
Metasys separation | mc-0271 | 875
Dürr combi separator | mc-0275 | 235
Metasys amalgam separator | mc-0276 | 1605
Spittoon valve - Dürr | mc-0277 | 955
Spittoon valve - Metasys | mc-0279 | 775
Metasys Wek. Water decontamination system - build in | mc-0288 | 1765
Metasys Wek. LIGHT Water decontamination system - build in | mc-0289 | 1465
Trays and tray arms
single tray excl. tray-adapter | Fc-0901 | 150
plastic sheet for single tray | F-427 | 10
Double tray excl. tray-adapter | Fc-0900 | 205
plastic sheet for double tray | F-428 | 15
tray-adapter with one arm: H.:70 mm. L.:100 mm. Including new holder | mc-0405 | 150
tray-adapter with one arm: H.:70 mm. L.:150 mm. Including new holder | mc-0415 | 150
tray-adapter with one arm: H.:120 mm. L.:100 mm. Including new holder | mc-0410 | 150
tray-adapter with one arm: H.:120 mm. L.:150 mm. Including new holder | mc-0420 | 150
tray-adapter w. two arms: H.:70 mm. L.:arm 1: 100 mm. Arm 2 150 mm. Including 2 new holders | mc-0425 | 190
tray-adapter w. two arms: H.:120 mm. L.:arm 1: 100 mm. Arm 2 150 mm. Including 2 new holders | mc-0430 | 195
adapter / holder for sterile water system mc-0125 | mc-0440 | 195
X-ray and support
X-ray support 25 cm | mc-0290 | 195
X-Mind x-ray D/C: UNIC version | K-0020 | 4165
Schuko power outlet for 220 volt | mc-0287 | 115
Operation lamps and supports
Faro Alya LED operation lamp Heka design arm | fa-0285-02 | 2830
Faro Alya MAIA operation lamp Heka design arm | fa-0293-02 | 1990
Support for Lamp Heka Design | mc-0296 | 370
Faro Alya LED operation lamp standard arm | k-1100 | 2830
Faro Alya MAIA operation lamp standard arm | k-1300 | 1990
EDI operation lamp standard design | k-1010 | 1465
Support for Lamp standard design | mc-0295 | 195
Faro Alya LED operation lamp, ceiling mount | K-1190 | 2830
Faro Alya LED operation lamp with sensor, ceiling mount | K-1150 | 2990
Faro EDI operation lamp, ceiling mount | K-1050 | 1465
Ceiling application for ALYA with trafo, 170 cm | 308815 | 735
Ceiling application for EDI with trafo, 170 cm | 300795 | 735
Extra for units without lamp | mc-0299 | 195
Patient chair and options
Patient chair, standard upholstery /standard neck support. including new safety stop plate | sb-080* | 6475
Patient chair, super soft upholstery /standard neck support. including new safety stop plate | sb-080* | 6685
Foot support | sb-0260-06 | 615
Armrest | sb-0002-06 | 215
extra joystick for chair | sb-0315-06 | 280
Stools
Vela dentist stool | Vela 1-10 | 699
Dynamo dentist stool | Dyn 1-10 | 599
extra warranty
extra 4 years warranty | G-900 | 995
Packing, shipping and insurance
estimated shipping cost if transport is arranged by Heka Dental | fragt
Insurance per package if shipping is arranged by Heka Dental | forsikring | 38
Packing UnicLine | e-000 | 78
Packing CHAIR | s-000 | 78
Instruments placement (seen from the front):
5
upholstery colour for chair and stools
Open neck support - sb-0528-06
spring mounted delivery system - continental
Tray arm - left ore right side
cable for foot control, length 1,5 m. or 2,5m
Bushing size for lamp adapter. Only if lamp is not supplied by Heka Dental
Bushing size for X-ray adapter. Only if X-ray is not supplied by Heka Dental

## UNIC LINE 5D
Прайс на установки Heka (Дания) модель UNICLINE 5D Для получения дополнительной скидки обращайтесь в Группу компаний "Стомус" по тел. 8 800 550-48-48
НАИМЕНОВАНИЕ И ПЕРЕЧЕНЬ ОПЦИЙ | Артикул | Розничная цена 2024, EURO
UnicLine 5D Floor mounted console with delivery arm set, air and water filters. | M-011 / M-026 | 8070
Foot controls
supplement for special colour on stripes | M-030-7 | 265
Standard foot control | H-004-2 | 645
Wireless standard foot control | M-044 | 1544
Variable foot control | M-036-1 | 1035
Wireless variable foot control | M-043 | 1934
Universal variable foot control | M-037 | 1755
Wireless Universal variable foot control | M-434 | 2654
supplement for foot-control steering on/off OP-Lamp | M-120 | 325
Instruments on Dentist element
Multiflex turbine hose | M-051 | 795
supplement for Variable turbine | M-118 | 465
Bien Air MC3 LED micro motor | M-057-3 | 2140
Bien Air MX2 Micro motor | M-161 | 3132
Extra for Bien Air Optima control pad for MX2 motors | M-163 | 960
Bien Air MCX micro motor | M-165 | 2365
second Bien Air MCX micro motor | M-166 | 2030
NSK M40 LED micro motor | M-064 | 2290
Unic 3-function syringe | M-065 | 395
Luzzani 3-function syringe | M-105 | 665
Luzzani 6-function syringe | M-107 | 1115
Luzzani 7-function syringe with light | M-109 | 1230
Suprasson Newtron scaler with fiber optic (LED) | M-177 | 1980
Suprasson Newtron scaler | M-175 | 1545
NSK Varios scaler | M-185 | 2065
NSK Varios scaler with fiber optic (LED). | M-187 | 2580
EMS "No Pain" scaler | M-173 | 2330
EMS "No Pain"scaler with fiber optic (LED). | M-183 | 3080
EMS Airflow: build inn version | M-097 | 1975
Starligth Sler curing light - hand piece activation | M-091 | 1390
Starligth Sler curing light - - foot control activation | M-092 | 1390
Satelec Mini LED Curing light - foot control activation | M-094 | 1605
Satelec Mini LED Curing light - hand piece activation | M-192 | 1605
VALO Ultradent USA curing light - hand piece activation | M-103 | 2230
Satelec Sopro 617 camera | M-211 | 3940
Monitor and arm
Monitor "17" including arm and lamp adapter | M-221 + M-298 | 2020
Monitor arm with VESA adapter (whitout monitor) incl. Lamp adapter 80 cm. | M-298 + G-017 | 1805
Water systems
Sterile water system: for mounting on tray adaptor | M-125 | 1425
Hygienic airation: Model Heka automatic | M-282 | 335
Automatic flushing system for instruments hoses with holder for Unic Syringe | M-050 | 240
Automatic flushing system for instruments hoses with holder for Unic Syringe | M-151 | 240
Cuspidor / water bottle
spittoon / cuspidor | M-201 | 1520
spitton / cuspodor model COMPACT | M-203 | 1520
UnicLine clean water bottle system - for instruments | M-157 | 205
suction / assistent arm
Assistent arm with 2 non selective suction hoses | M-250 | 980
Assistent arm with 3 non selective suction hoses | M-251 | 1110
Assistent arm with 2 selective suction hoses | M-255 | 1345
Assistent arm with 3 selective suction hoses | M-256 | 1650
short flex arm with 2 selective suction hoses mounted on delivery tray | M-263 | 965
extra for M-250/251 without spittoon/cuspidor | M-258 | 195
Extra for M-255/256 without spittoon/cuspidor | M-259 | 285
extra for assistent arm mounted on patient chair | M-242 | 465
add. price for smooth suction hose 11 mm | M-231 | 65
add. price for smooth suction hose 16 mm | M-236 | 65
automatic suction hose cleaner | M-265 | 1130
Instrumenst on assistent arm
Syringe on spitton / cuspidor - UNIC 3F | M-225 | 360
Syringe on assistant arm - UNIC 3F | M-226 | 360
Syringe on assistent arm - Luzzani 3F | M-232 | 665
Starlight Sler curing light on spitton / cuspidor - hand piece activation | M-247 | 1390
Starlight Sler curing light on assistant arm - hand piece activation | M-246 | 1390
Satelec Mini LED Curing light - hand piece activation | M-248 | 1605
VALO Ultradent USA curing light - hand piece activation | M-249 | 2230
Water heater and quick connections
water heater for glass | M-205 | 395
water heater for glass and instrument table | M-206 | 560
quick-coupling for suction | M-280 | 485
quick-coupling for water and air | M-281 | 140
Separators, spittoon valves, water decontamination
Metasys separation | m-271 | 875
Dürr combi separator | M-275 | 2335
Metasys amalgam separator | M-276 | 1605
Spittoon valve - Dürr | M-277 | 955
Spittoon valve - Metasys | M-279 | 775
Spittoon valve - UNIC | M-210 | 275
Metasys Wek. Water decontamination system - build in / not possible together with separator | M-288 | 1765
Metasys Wek. Water decontamination system / floor box model | K-0125 | 1765
Trays and tray arms
single tray excl. tray-adapter | Fc-0901 | 150
plastic sheet for single tray | F-427 | 10
Double tray excl. tray-adapter | Fc-0900 | 205
plastic sheet for double tray | F-428 | 15
tray-adapter with one arm: H.:70 mm. L.:100 mm. Including new holder | M-405 | 150
tray-adapter with one arm: H.:70 mm. L.:150 mm. Including new holder | M-415 | 150
tray-adapter with one arm: H.:120 mm. L.:100 mm. Including new holder | M-410 | 150
tray-adapter with one arm: H.:120 mm. L.:150 mm. Including new holder | M-420 | 150
tray-adapter w. two arms: H.:70 mm. L.:arm 1: 100 mm. Arm 2 150 mm. Including 2 new holders | M-425 | 190
tray-adapter w. two arms: H.:120 mm. L.:arm 1: 100 mm. Arm 2 150 mm. Including 2 new holders | M-430 | 195
tray-adapter for traditonel delivery / hanging hoses Including new holder | M-440 | 195
X-ray and support
X-ray support 25 cm. incl. Bushing. | m-290 | 195
X-ray support 45 cm. incl. bushing | M-291 | 195
X-Mind x-ray D/C: UNIC version | K-0020 | 4165
X-Mind x-ray A/C: UNIC version | K-001 | 3505
Power outlet for 220 volt mounted on unit | M-285 | 115
Operation lamps and supports
Faro Alya LED operation lamp | K-1100 | 2830
Faro Alya LED operation lamp with sensor |  | 2990
Faro MAIA LED operation lamp | K-1300 | 1990
EDI operation lamp with sensor | K-1020 | 1625
EDI operation lamp | K-1010 | 1465
Faro Alya LED operation lamp, ceiling mount | K-1190 | 2830
Faro Alya LED operation lamp with sensor, ceiling mount | K-1150 | 2990
Faro EDI operation lamp, ceiling mount | K-1050 | 1465
Ceiling application for ALYA with trafo, 170 cm | 308815 | 735
Ceiling application for EDI with trafo, 170 cm | 300795 | 735
lamp-adapter 70 cm. incl. Bushing . | M-295 | 220
lamp-adapter 80 cm. incl. Bushing. | M-296 | 220
lamp-adapter 90 cm. incl. Bushing. | M-297 | 220
Patient chair and options
Patient chair, standard upholstery /standard neck support. including new safety stop plate | sb-080* | 6475
Patient chair, super soft upholstery /standard neck support. including new safety stop plate | sb-080* | 6685
Foot support | sb-0260-06 | 615
Armrest | sb-0002-06 | 215
extra joystick for chair | sb-0315-06 | 280
Stools
Vela dentist stool | Vela 1-10 | 699
Dynamo dentist stool | Dyn 1-10 | 599
extra warranty
extra 4 years warranty | G-900 | 995
Packing, shipping and insurrance
estimated shipping cost if transport is arranged by Heka Dental | fragt
Insurrance per package if shipping is arranged by Heka Dental | forsikring | 38
Packing UnicLine | e-000 | 78
Packing CHAIR | s-000 | 78
Instruments placement (seen from the front):
5
upholstery colour for chair and stools
colour on decoration stripes
Open neck support - sb-0528-06
spring mounted delivery system - continental
hanging hoses delivery system - traditionel
Tray arm - left ore right side
cabel for foot control, length 1,5 m. or 2,5m
Bushing size for lamp adapter. Only if lamp is not supplied by Heka Dental
Bushing size for X-ray adapter. Only if X-ray is not supplied by Heka Dental

## UNIC
Прайс на установки Heka (Дания) модель UNIC Для получения дополнительной скидки обращайтесь в Группу компаний "Стомус" по тел. 8 800 550-48-48
НАИМЕНОВАНИЕ И ПЕРЕЧЕНЬ ОПЦИЙ | Артикул | Розничная цена 2024, EURO
UNIC Floor mounted console with delivery arm set, air and water filters and main valves, 2 tray adapters, UL multi flexible assistant arm and selective suction. | mb-0021-06 | 13705
Foot controls and extra handles
Standard foot control | mb-0004-06 | 645
Wireless foot control standard | mb-0446-06 | 1544
Universal variable foot control | mb-0036-06 | 1755
Wireless universal foot control Universal | mb-0034-06 | 2654
Variable foot control | m-036 | 1035
Wireless Variable foot control | mb-0442-06 | 1934
UNIC T-handle - left ore right side | gb-0101-06 | 160
Instruments on dentist element
Multiflex turbine hose | mb-0051-06 | 795
Bien Air MC3 LED micro motor | mb-0057-06 | 2140
NSK M40 LED micro motor | mb-0064-06 | 2290
Bien Air MX2 micro motor including Optima control pad | mb-0161-06 | 3974
Bien Air MX2 micro motor as second motor without Optima control pad | mb-0160-06 | 3132
Bien Air MCX micro motor | mb-0165-06 | 2365
second Bien Air MCX micro motor | mb-0166-06 | 2030
UNIC syringe 3F | mb-0065-06 | 395
Luzzani syringe 3F | mb-0105-06 | 665
Luzzani syringe 6F | mb-0107-06 | 1115
Luzzani syringe 7F | mb-0109-06 | 1230
Suprasson Newtron scaler with fibre optic (LED light) | mb-0177-06 | 1980
Suprasson Newtron scaler | mb-0075-06 | 1545
NSK Varios scaler | mb-0085-06 | 2065
NSK Varios scaler with fibre optic (LED). | mb-0087-06 | 2580
EMS "No Pain" scaler | mb-0173-06 | 2330
EMS "No Pain" scaler with fibre optic (LED). | mb-0081-06 | 3080
Starlight Sler curing light - foot switch activation | mb-0092-06 | 1390
Starlight Sler curing light - hand piece activation | mb-0094-06 | 1390
Satelec Mini LED Curing light - foot switch activation | mb-0095-06 | 1605
Satelec Mini LED Curing light - hand piece activation | mb-0192-06 | 1605
VALO Ultradent USA curing light - hand piece activation | mb-0194-06 | 2230
Satelec Sopro 617 camera on instrument table | mb-0211-06 | 3940
Satelec Sopro 717 camera on instrument table | mb-0217-06 | 5650
Extra when less than 5 instruments | mb-0102-06 | 259
Options
iPad4 Holder on Dentist element | gb-0025-06 | 995
Monitor "22" including arm and lamp support | mb-0221-06 + mb-0298-06 | 2395
Monitor arm with VESA adapter (without monitor) incl. Lamp adapter | mb-0298-06 + gb-1017-06 | 1805
Sterile water system for mounting on tray adaptor | mb-0125-06 | 1425
Automatic flushing system for instruments with holder for Luzzani syringe | mb-0151-06 | 240
Automatic flushing system for instruments with holder for UNIC syringe | mb-0050-06 | 240
Cuspidor / assistant arm
Spittoon/cuspidor with manual pivot /glass bowl | mb-0203-06 | 1325
Spittoon/cuspidor with automatic pivot / glass bowl | mb-0201-06 | 1520
Extra for mounting suction/assistant arm model UnicLine on chair | mb-0242-06 | 465
Extra for suction without spittoon/cuspidor | mb-0259-06 | 255
Automatic cleaning system for suction hoses | mb-0265-06 | 1130
Instruments on assistant arm
UNIC Syringe on assistant arm - 3F | mb-0226-06 | 360
Luzzani syringe on assistant arm - 3F | mb-0227-06 | 595
Starlight Sler curing light - hand piece activation | mb-0246-06 | 1390
Satelec Mini LED Curing light - hand piece activation | mb-0248-06 | 1605
VALO Ultradent USA curing light - hand piece activation | mb-0249-06 | 2230
Satelec Sopro 617 camera | mb-0212-06 | 3940
Satelec Sopro 717 camera | mb-0218-06 | 5650
water bottle and heater / quick connections
Water heater for glass and instrument table | mb-0206-06 | 495
Quick connections for suction | mb-0280-06 | 485
Quick connections for water and air | mb-0281-06 | 220
Water Bottle | mb-0157-06 | 670
Separators, spittoon valves, water decontamination
Metasys Separation automatic | mb-0271-06 | 875
Dürr combi separator | mb-0275-06 | 2335
Metasys amalgam separator | mb-0276-06 | 1605
Spittoon valve - Dürr | mb-0277-06 | 955
Spittoon valve - Metasys | mb-0279-06 | 775
Metasys Wek. Water decontamination system, including "air gab"/ not possible together with RB version | mb-0288-06 | 1765
Metasys Wek. Water decontamination system, without "air gab" / not possible together with RB version | mb-0289-06 | 1465
Trays
Single tray | fa-0339-04 | 150
Double tray | fa-0364-04 | 205
plastic sheet for single tray | F-427 | 10
plastic sheet for double tray | F-428 | 15
X-ray
Support for X-ray | mb-0290-06 | 1525
X-Mind x-ray D/C: UNIC version | K-0020 | 4165
Operation lamps and supports
Faro Alya LED operation lamp | fa-0285-02 | 2830
Faro MAIA LED operation lamp/ note: only with standard arm | fa-0293-02 | 1990
Faro EDI operation lamp | fa-0201-02 | 1465
Faro Alya LED operation lamp, ceiling mount | K-1190 | 2830
Faro Alya LED operation lamp, with sensor, ceiling mount | K-1150 | 2990
Faro EDI operation lamp, ceiling mount | K-1050 | 1465
Ceiling application for ALYA with trafo, 170 cm | 308815 | 735
Ceiling application for EDI with trafo, 170 cm | 300795 | 735
Support for lamp including bushing | mb-0295-06 | 405
Support for lamp and monitor including bushing | mb-0298-06 + gb-1017-06 | 1805
Support for monitor for units without lamp | mb-0297-06 | 990
Extra for units without lamp | mb-0299-06 | 635
Patient chair and options
Patient chair, standard upholstery /standard neck support. including new safety stop plate | sb-080* | 6475
Patient chair, super soft upholstery /standard neck support. including new safety stop plate | sb-080* | 6685
Foot support | sb-0260-06 | 615
Armrest including holder | sb-0002-06 | 215
extra joystick for chair | sb-0315-06 | 280
Stools
Vela dentist stool | vela 1-10 | 699
Dynamo dentist stool | dyn 1-10 | 599
Miscellaneous
230V Schuko power outlet | mb-0287-06 | 115
extra 4 years warranty | GK-0900-06 | 995
Extra for main valves if RB version | mb-0260-06 | 270
Packing, shipping and insurance
estimated shipping cost if transport is arranged by Heka Dental | fragt
Insurance per package if shipping is arranged by Heka Dental | forsikring | 38
Packing UNIC | eb-000 | 78
Packing CHAIR | s-000 | 78
Unic in RB version. = Empty base, no main valves
Spittoon / cuspidor bowl in porcelain (fa-0178-01)
extra handle: left ore right, if only one piece
upholstery colour for chair and stools
Open neck support - sb-0528-06
cable for foot control, length 1,5 m. or 2,5m
spring mounted delivery system - continental
hanging hoses delivery system - traditional
Bushing size for lamp adapter. Only if lamp is not supplied by Heka Dental
Bushing size for X-ray adapter. Only if X-ray is not supplied by Heka Dental
Arm on left or right side of delivery tray.
left for movement over cuspidor / spittoon
right for movement over patient chair
for hanging hoses / traditional delivery = always left side
Note on A142: Bjørn Friis:

## Mobile
Прайс на установки Heka (Дания) мобильная модель UNICLINE MOBILE Для получения дополнительной скидки% обращайтесь в Группу компаний "Стомус" по тел. 8 800 550-48-48
НАИМЕНОВАНИЕ И ПЕРЕЧЕНЬ ОПЦИЙ | Артикул | Розничная цена 2024, EURO
UnicLine Mobile, incl. Patient chair, OP lamp, suction motor, compressor, water system, 2 micro motor's, scaler, curing light, syringe and X-ray (Satelec X-mind D/C) | X-500 | 59990 | NEW MODEL
UnicLine Mobile, incl. Patient chair, OP lamp, suction motor, compressor, water system, 2 micro motor's, scaler, curing light and syringe, without X-ray | X-500 | 56990 | NEW MODEL
estimated shipping cost if transport is arranged by Heka Dental | fragt
Insurrance per package if shipping is arranged by Heka Dental | forsikring | 52
Packing UnicLine Mobile | e-000 | 78
Packing CHAIR | s-000 | 78

## Аксессуары
Прайс на аксессуары к установкам Heka (Дания) Для заказа обращайтесь в Группу компаний "Стомус" по тел. 8 800 550-48-48
НАИМЕНОВАНИЕ И ПЕРЕЧЕНЬ ОПЦИЙ | Артикул | Розничная цена 2024, EURO
Patient chair, standard upholstery /standard neck support | sb-080* | 6475
Patient chair, super soft upholstery /standard neck support | sb-080* | 6685
Patient chair Mobile with standard upholstery | sb-0500-mobilekit | 7920
Options
Foot support | sb-0260-06 | 615
Armrest | sb-0002-06 | 215
extra joystick for chair | sb-0315-06 | 280
cuspidor / spittoon and suction / assistent arms
spittoon / cuspidor mounted on patient chair with floor box and bracket | m-310 / mb-0320-06 | 3060
spittoon / cuspidor mounted on patient chair with bracket without floor box | m-312/ mb-0320-06 | 2375
ordinary suction on flex arm in connection with spittoon | M-350 | 525
Short flex assistent arm with 2 non selective suction hoses. Without bracket / adaptor | M-351 | 1065
chair bracket / adaptor | mb-0320-06 | 992
Instrumenst on assistent arm
Syringe on spitton / cuspidor - UNIC 3F | M-225 | 360
Syringe on assistant arm - UNIC 3F | M-226 | 360
Syringe on assistent arm - Luzzani 3F | M-232 | 595
Starlight Sler curing light on spitton / cuspidor - hand piece activation | M-247 | 1390
Starlight Sler curing light on assistant arm - hand piece activation | M-246 | 1390
Satelec Mini LED Curing light - hand piece activation | M-248 | 1605
VALO Ultradent USA curing light - hand piece activation | M-249 | 2230
Operation lamps
lamp-adapter 120 cm. incl. Bushing. | a-358/120 | 220
Faro Alya LED operation lamp | K-1100 | 2830
Faro Alya LED operation lamp with sensor |  | 2990
EDI operation lamp with sensor | K-1020 | 1625
EDI operation lamp | K-1010 | 1465
Faro Alya LED operation lamp, ceiling mount | K-1190 | 2830
Faro Alya LED operation lamp with sensor, ceiling mount | K-1150 | 2990
Faro EDI operation lamp, ceiling mount | K-1050 | 1465
Ceiling application for ALYA with trafo, 170 cm | 308815 | 735
Ceiling application for EDI with trafo, 170 cm | 300795 | 735
Tray
FARO large tray for mounting in chair bracket / adaptor | 302310 | 2330
Stools
Vela dentist stool | Vela 1-10 | 699
Dynamo dentist stool | Dyn 1-10 | 599
extra warranty
extra 4 years warranty | G-900 | 995
Packing, shipping and insurrance
estimated shipping cost if transport is arranged by Heka Dental | fragt
Insurrance per chair if shipping is arranged by Heka Dental | forsikring | 38
Packing CHAIR | s-000 | 78